| \Operation\Hot air station\Compressed air (page 1 of 2) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Acceptance criterion | Limits | Pass / Fail: Dev-No. | Date | Initials |
| Screen matches screenshot | N / A |  |  |  |
| Target value, flow rate, air supply station 1 | 50.00 … 400.00 |  |  |  |
| Target value, flow rate, air supply station 2 | 50.00 … 400.00 |  |  |  |
| Target value, flow rate, exhaust station 1 | 50.00 … 400.00 |  |  |  |
| Target value, flow rate, exhaust station 2 | 50.00 … 400.00 |  |  |  |
| Calibration offset, flow gauge, air supply station 1 | -10.00 … 10.00 |  |  |  |
| Calibration offset, flow gauge, air supply station 2 | -10.00 … 10.00 |  |  |  |
| Calibration offset, flow gauge, exhaust station 1 | -10.00 … 10.00 |  |  |  |

| \Operation\Hot air station\Compressed air (page 2 of 2) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Acceptance criterion | Limits | Pass / Fail: Dev-No. | Date | Initials |
| Screen matches screenshot | N / A |  |  |  |
| Calibration offset, flow gauge, exhaust station 2 | -10.00 … 10.00 |  |  |  |